{"text_format":"2","workbook":"xlsx","n_sheets":3,"sheets":["Munka1","Munka2","Munka3"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Munka1","index":0,"n_rows":27,"n_cols":13,"rows_kept":27,"cut":false,"hidden":false,"merged":[[0,0,0,3],[0,6,0,10]]}
[{"$nulls":6},"Békés,Oncsa telep Vágóhíd u. ivóvízhálózat "]
[{"$nulls":6},"név","mennyi-ség","mértékegy-ség","egységár","ár",null,"ár"]
[{"$nulls":11},"egységár"]
[{"$nulls":6},"208 m NA200KPEvízvezeték építés","208","m",null,null,17000,5304000]
[{"$nulls":6},"1,5 m*1,5 m vb akna építés",1,"db",null,null,270000,405000]
[{"$nulls":6},"NA200 zárósapka",1,"db",null,null,52000,78000]
[{"$nulls":6},"NA200 SDR peremes toldat",7,"db",null,null,36000,378000]
[{"$nulls":6},"HAWLE SYSTEM2000 NA100",2,"db",null,null,30000,90000]
[{"$nulls":6},"NA200 FF idom",4,"db",null,null,38000,228000]
[{"$nulls":6},"NA100 FF idom",2,"db",null,null,17500,52500]
[{"$nulls":6},"HAWLE4000E2 tolózár DN200",2,"db",null,null,140000,420000]
[{"$nulls":6},"HAWLE4000E2 tolózár DN100",4,"db",null,null,60000,360000]
[{"$nulls":6},"Tidom 200/200",1,"db",null,null,75000,112500]
[{"$nulls":6},"Tidom 200/100",4,"db",null,null,64000,384000]
[{"$nulls":6},"D300 mosató felszálló",1,"db",null,null,50000,75000]
[{"$nulls":6},"CE NA100 Föld feletti tűzcsap ",1,"db",null,null,160000,240000]
[{"$nulls":6},"Közkifolyó átkötés",1,"db",null,null,45000,67500]
[{"$nulls":6},"szivacskivevő NA100",1,"db",null,null,50000,75000]
[{"$nulls":6},"bekötés létesítés 210 m NA25 + elzáró szerelvény",9,"db",null,null,55000,742500]
[{"$nulls":6},"NA100 szerelési közdarb",3,"db",null,null,30000,135000]
[{"$nulls":6},"NA200/100 szűkítő",1,"db",null,null,35000,52500]
[{"$nulls":6},"QN idom NA100",3,"db",null,null,17000,76500]
[{"$nulls":6},"beépítési készlet",6,"db",null,null,10000,90000]
[{"$nulls":6},"csapszekrény",2,"db",null,null,25000,75000]
[{"$nulls":6},"összesen",{"$nulls":5},9441000]
[{"$nulls":6},"ÁFA",{"$nulls":5},2549070]
[{"$nulls":6},"Mindösszesen",{"$nulls":5},11990070]

{"sheet":"Munka2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"Munka3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}